## Sheet1
Template for Price Schedule: Goods
Bidder's Name:
Date:
Tendor Lot No:
Line Item N° | Description of Goods | Specification | Manufacturer | Reference | Quantity in Package | Quantity | Physical unit | Unit price – VAT Exclusive | Total Price per Line item (VAT Exclusive) (Col. G*I)
[7 empty] | [insert the physical unit (e.g Kgs, Pcs etc)] | [insert unit price per unit excluding VAT] | [insert total price of the line item]
1 | ANALYTICAL FUNNELS , German Shape, Plastic | Funnel diameter (top opening): 90 mm, overall height: 145 mm, stem length: 50 mm, stem outside diameter (OD): 8 mm |  |  |  | 6
2 | ANALYTICAL FUNNELS, German Shape,Glass | Funnel diameter (top opening): 90 mm, overall height: 145 mm, stem length: 50 mm, stem outside diameter (OD): 8 mm |  |  |  | 6
3 | Cleaning Towels | Manufactured from pure cellulose with high degree of water absorbtion. dimensions: 230 x 220 mm |  |  |  | 10
4 | DESK PROTECTORS, Silicone | Durable, heat-resistant up to ~200 °C, chemically inert, non-slip, spill-containing, autoclavable and easy to clean, ideal for most lab benches. 35 × 60 cm, Standard large bench mat |  |  |  | 5
5 | IMHOFF CONES,Plastic, with graduation | Manufactured from heat resistant, durable borosilicate glass according for sedimentation tests according to DIN 12672 standard. Featured with volume graduation of 1000 ml. Volume graduations and inscriptions are printed with white enamel. |  |  |  | 1
6 | IMHOFF CONES,Glass, with graduation | Manufactured from heat resistant, durable borosilicate glass according for sedimentation tests according to DIN 12672 standard. Featured with volume graduation of 1000 ml. Volume graduations and inscriptions are printed with white enamel. |  |  |  | 1
7 | IMHOFF CONE STAND, Clear plastic | Manufactured to hold two imhoff, sedimentation cones of any type. Compact design allows easy carry of, imhoff cones even when the cones are filled. |  |  |  | 1
8 | TUBE BOX - “100 well of 16 mm” wth clear “hinged lid” | Handling cuvettes of 16 mm diamater, uniquely designed to carry 100 cryo tubes in 10 x 10 array, Manufactured from polypropylene with high mechanical strength. Resistant to most acids, bases and solvents. Guarantees high temperature resistance between -20°C to +121°C. |  |  |  | 3
9 | Pipette Tips with filter barriers and storage containers and compatible with biosan micropipettes | Plastic pipette tips fit for micropipette volume 100-1000 µL, clear, autoclavable at 121°C, with graduation, filter and storage container, FDA approved or other recognized regulatory institutions (Pk/24 pcs) |  |  |  | 1
10 | Pipette Tips with filter barriers and storage containers and compatible with biosan micropipettes | Plastic pipette tips fit for micropipette volume 0.5-5ml, clear, autoclavable at 121°C, with graduation, filter and storage container, FDA approved or other recognized regulatory institutions(Pk/24 pcs) |  |  |  | 1
11 | Pipette Tips with filter barriers and storage containers and compatible with biosan micropipettes | Plastic pipette tips fit for micropipette volume 1-10ml, clear, autoclavable at 121°C, with graduation, filter and storage container, FDA approved or other recognized regulatory institutions(Pk/24 pcs) |  |  |  | 1
12 | Bottle, BOD, 300 mL, clear with graduation and caps | Capacity: 300 mL, material: borosilicate glass, with caps |  | https://www.hach.com/p-bottle-bod-300-ml/62100?srsltid=AfmBOooMxnYUOQjtU-HHZHUEe4B5_8nhwK6wyBtCp6FCVywiH6I4SKPI |  | 12
13 | Bottle rack, BOD, 12 bottle | ugged PVC-coated wire rack provides corrosion resistant transport system for 300 mL BOD bottles. Racks interlock for efficient transport and storage. *Item is coated in blue epoxy. |  | https://www.hach.com/p-bottle-rack-bod-12-bottle/2094200#specifications |  | 1
14 | Aluminium foil roll | N/A |  |  |  | 1
15 | Cotton wool roll | N/A |  |  |  | 1
16 | Laboratory Water Purifier (Type II Water) | Water Type: Type II laboratory water, Production Rate: 10 L/h, Purification Technology: Reverse Osmosis (RO) and Deionization (DI), Output Water: RO purified water / DI deionized water, Standard: Standard laboratory model, Feed Water Requirements: Feed Water Source: Municipal tap water, Inlet Water Pressure: 0.15 – 0.5 MPa, Feed Water Temperature: 5 – 40 °C, Total Dissolved Solids (TDS): < 200 ppm, System Configuration (Included Components): Deionized water purification unit, Reverse osmosis (RO) system, Main host unit with 1 set of purification columns, Pressurized water storage tank, TDS meter (pen type), Complete accessory kit (tubing, fittings, connectors). Typical Output Water Quality (Type II): Resistivity (25 °C): up to 10–16 MΩ·cm, Conductivity: < 0.1 µS/cm |  |  |  | 1
17 | Carbon Filter for ductless fume cabinet (Manufacturer: New Flare Group, South Africa) | Newflare 1500 dfc (Manufacturer: New Flare Group, South Africa) |  |  |  | 1
18 | Lab marker (Normal/non-permanent) | Ideal for labelling of all plastic articles and glassware.Water-resistant,quick-drying. Color: black, point size: fine, with holding clip to attach it to your pocket or writing board, writes immediately (no priming required), odourless, non-toxic.multi-purpose to write on almost any surfaces of glass, plastics and paper. |  |  |  | 12
19 | Halogen lamp for HACH spectrophotometer DR 3900 | Manufacturer (HACH), Part number LPZ440.99.00007 |  |  |  | 1
20 | Lithium Battery for spectro (part number LZV851) | Manufacturer (HACH) Part number LZV851 |  |  |  | 1
21 | Pipette and tip rack | For 6 pipettes, Double transparent tray, Self-closing lid, Wide edges on the lid for easy handling, |  |  |  | 1