Terms of reference for hiring a construction company to construct a Cooperative warehouse store for KODUMU Cooperative located in MUSHISHITO Marshland, KIBIRIZI Sector of NYAMAGABE District, Southern province.

| Project Name | Climate-Smart Agriculture and Market Development for Enhancing Livelihoods of Refugees and their Host Communities in Rwanda (CSA) |
| --- | --- |
| Implementing Partner | DUHAMIC-ADRI |
| Project intervention area | NYAMAGABE and GATSIBO Districts |
| Activity location | NYAMAGABE District (at Mushishito marshland) |

Kigali, August ,2026

### Brief description of DUHAMIC-ADRI

DUHAMIC -ADRI is a non-profit organization located in Kigali, the capital city of Rwanda, in Kicukiro District, Niboye Sector. Officially operating in Rwanda since 12th July 1985.

Mission: Supporting integrated initiatives for Holistic Development of Rural Population in their struggle for self-reliance’

Vision: A rural world responsible for its self-socio-economic development

Core Values: Integrity, Professionalism, Transparency

### Climate-Smart Agriculture Project background

Since July 2024, DUHAMIC-ADRI has partnered with the United Nations High Commissioner for Refugees (UNHCR) through a signed Partnership Framework Agreement (PFA) to implement Phase II of the Climate-Smart Agriculture and Market Development for Enhancing Livelihoods of Refugees and their Host Communities in Rwanda.

The Climate-Smart Agriculture initiative aims to improve food security and self-reliance for 2,036 beneficiaries (732 refugee and 1,304 host community households, including 1,091 women and 945 men). By 2026, this project will benefit over 7,851 family members through climate-smart agricultural practices and a market development approach.

Specifically, the partnership focuses on contributing to achieving the following outcomes of the project: Outcome 1: Increased Agricultural Productivity and Outcome 2: Increased Household Income. CODIGA Cooperative, based in Nyabicwamba Cell, Gatsibo District, is a beneficiary cooperative composed of both refugees and host community members.

# Objective of the tender

3.1 General Objective

To construct a modern warehouse store and office that will strengthen post-harvest management, improve cooperative administration, and enhance agricultural value chain development for KODUMU Cooperative.

3.2 Specific Objectives

The assignment specifically aims to:

- Construct a warehouse for safe storage of agricultural produce and farm inputs.

- Construct office space for cooperative administration and management.

- Ensure compliance with approved architectural, structural, and engineering designs.

- Deliver works that meet national construction standards and quality requirements.

- Complete the assignment within the agreed implementation period.

- Scope of Work

The selected construction company will be responsible for carrying out all construction works in accordance with the approved technical designs, specifications, Bills of Quantities (BoQs), and applicable construction standards.

The scope of work includes, but is not limited to:

A. Site Preparation

- Site mobilization

- Setting out the works

- Site clearing and leveling

- Temporary site facilities

- Health and safety measures

- Environmental protection measures

B. Earthworks

- Excavation

- Backfilling

- Compaction

- Foundation preparation

C. Foundation Works

- Reinforced concrete foundations

- Foundation walls

- Damp-proof course

- Hardcore filling

- Concrete floor slab

D. Superstructure Works

- Masonry walls

- Reinforced concrete columns

- Beams

- Lintels

- Ring beams

### Roofing Works

- Roof trusses

- Roofing sheets

- Gutters

- Downpipes

- Fascia boards

- Roof accessories

### F. Doors and Windows

- Steel security external and Internal doors

- Steel windows

### J. External Works

- Drainage channels

- Site grading

- Landscaping

- Access improvements

- Cleaning of construction site

- Expected Deliverables

The construction company shall deliver:

- Fully completed construction works as per approved designs and BoQs.

- Functional drainage system.

- Complete roofing system.

- Properly finished internal and external works.

- Clean and safe working environment throughout implementation.

- As-built drawings.

- Defects rectified before handover (6 months after provision handover).

- Final report upon completion of works.

- Duration of the Assignment

The construction work will be completed within 30 calendar days, counted from the date of contract signing and six (6) months of defect liability period counted form the date of provisional handover.

# Technical specifications

7.1. General considerations

On the technical view point and before any execution,

The Contracting firm in charge of the implementation of the works in the present project, should take knowledge of all the specific parts of the work specified in the whole of document that form in all a homogeneous and complete work. This implies that all works and supplies must be completed in a perfect manner.

In a way to avoid other contentions the Contracting firm shall inform the engineer, in a separate note to his/her Bid, all mistakes, omission or contradictions sighted in the document during studies. In case of omissions in the description of certain particular works, the Contracting firm shall in all cases execute all necessary works to the perfect completion.

7.2. The unit prices of the Contracting firm

Prices for the replacement of damaged materials and/or equipment’s must always include the dismantling and the evacuation of materials and /or the equipment’s including the repair of the works damaged during the dismantling of work and other surroundings.

The descriptive bills of quantities in the technical clauses do not alone make up contractual statements. The Contracting firm shall not signal any alterations in the present document, be it in the different sections or plans or other documents relating to this tender document.

The Contracting firm should be conscious and verify all quantities during the time of Bid preparation. If he finds out that some quantities indicated in the descriptive and quantitative clauses are improper or missing the Contracting firm shall correct them in a separate note joined to his/her Bid and shall not in any way ask for any price modifications.

7.3. During works execution

The Contracting firm shall signal out all expenses, materials and other equipment or plans that he judges necessary for the perfect execution of the works. These documents shall be submitted to the Engineer for approval who replies in 2 days following the receipt of the requests.

All details of supplies leading to the performance of principle plans must be submitted inevitably for approval by the engineer before the beginning of works execution, he shall always make sure that he gives his reactions in 2 days’ time.

The Contracting firm shall not ask for any prolongation or compensation in terms of time for any modification he will have been asked to do.  The Contractor shall submit all materials and equipment to the Client for inspection, testing, and approval prior to their use or incorporation into the works. No material or equipment shall be used without the prior approval of the Client or the authorized representative.

7.3.1. Security

The Contracting firm must always know the working environment and should adhere to the existing laws, should always adhere to the conditions of the security and police. The Contracting firm shall always be liable for any losses caused by fire and shall always be responsible for the entire security of the site.

7.3.2. Water and electricity

The Contracting firm shall be responsible for all the water and electricity consumption at the site.

7.3.3. Access to the Site

The utilization of the existing routes by trucks and by other equipment’s should not cause any nuisances to the environment (dusts, noises, ruts etc.). All deterioration of surface caused to the adjacent works shall be repaired to the expense of the Contracting firm.

7.3.4. Implantation of works

All the Works and parts of works implantations will be done by the Contracting firm and at his expenses. Before commencement of works execution or implantation, the Contracting firm shall begin by a sub – implantation in order to verify the leveling of the land and inform the client of any possible inaccuracy. The representative of the client should first verify the implantation before works execution commences. A statement to the implantation shall be pronounced and given to the Contracting firm. Before all beginning of works, the enterprise must precise in the presence of the engineer, the pegging defining the time of works on the basis of data provided by the engineer: bench mark, origin of each intervention zone. He will be responsible for all accidents and should always endeavor to prevent them.

7.3.5. Utilization of materials

Materials to be used should be in conformity with the norms and laws in Rwanda and should conform to the present tender document. The conditions stipulated here shall always be considered as the required minimum required for the implementation of the works.

7.3.6. Environment Protection

The Contracting firm must respect the norms and prescriptions in relation to environment protection. On this note he is supposed to remove all garbage and unused materials out of the site and deposited far away in conformity with environmental regimes.

7.3.7. Consistence of unit prices

The Contracting firm should be well versed with the conditions that would influence the execution of the works especially:

-The nature and the quality of soils and grounds,

-The conditions of transport and access to the site,

-The water and rain regimes in the region,

-The conditions of accessing water to the site,

-Any other particular conditions relative to the present site,

He should not therefore, raise any claims relative to the difficulty or other eventualities except in case of major un expectations, fully recognized by all parties. He should therefore calculate all the unit prices on the basis of the complete execution of the works and in accordance with the techniques of high labor intensity.

The unit prices of the present tender cover all the Contracting firm’s expenses, without any exceptions, in order to achieve the total completion of the foreseen works, this includes, the profit as well as other rights, taxes, general expenses, and all expenses done in Rwanda as a result of this work, mainly:

- All expenses (wages, social security funds, holidays, lodgings, transport etc), of supplies, renting, depreciation of equipment and upkeep of the material,

- All expenses for the edible matters bought in Rwanda or abroad, materials for site implantation and quarries

- All insurances of any nature, access to quarries, repair of roads, laboratory expenses, storage of materials.

Prices also include expenses of site debarking and any other cost that is not to be incurred by the client.

# 8.Bid data sheet

| Client | DUHAMIC-ADRI |
| --- | --- |
| Tender title | Terms of reference for hiring a construction company to construct a Cooperative warehouse store for KODUMU Cooperative located in MUSHISHITO Marshland, KIBIRIZI Sector of NYAMAGABE District, Southern province. |
| Assignment Location | MUSHISHITO Marshland, Birembo Village, UWINDEKEZI cell, KIBIRIZI sector, NYAMAGABE District, Southern province |
| Timeline | 30 calendar days |
| Assignment | Construction of a Cooperative ware house store for KODUMU Cooperative located in MUSHISHITO Marshland, KIBIRIZI Sector of NYAMAGABE District, Southern province |
| Administrative Compliance | Administrative documents (Mandatory) - A valid certificate of current standing issued by RDB - Valid clearance certificate issued by Rwanda Social Security Board - A valid RRA clearance certificate - A valid credit line or a promise of a credit line of at least Eighty Million Rwandan Francs (80,000,000 Rwf), issued by a bank or another authorized financial institution, specific to tender. - A commitment letter confirming the bidder’s ability to complete the assignment within a period of 30 calendar days from the date of contract signature. - Proof of use of the Electronic Billing Machine (EBM) (An invoice submitted in the past or EBM usage certificate) - Site visit certificate signed and stamped to be provided by DUHAMIC-ADRI. - Bid security issued by recognized commercial bank or insurance company guarantee operating in Rwanda of equivalent to two million ninety-nine thousand four hundred twenty-five Rwandan Francs 2,099,425 Rwf. |
| Language | English |
| Currency | Rwandan |
| Bid validity period | 120 days |
| Company experience | At least three certificates of good completion for construction works successfully executed, each with a minimum contract value of 80,000,000 Rwf, accompanied by their corresponding contracts (certificate without its related contract will be rejected). |
| Qualification and experience of proposed team composition & Equipment | - Detailed CVs, academic degrees, and commitment of availability letters for each key staff member, clearly indicating their positions and responsibilities. (a)Project Manager: Bachelor’s degree in civil Engineering with at least five (5) years general experience in execution of similar works, he must have at least 2 projects completed as Project Manager with supporting documents. (b)Site Engineer: Bachelor’s degree in civil Engineering with at least three (3) years of experience in similar work with at least two (2) projects as Site Engineer for building works with supporting documents (c)Land surveyor: Bachelor’s degree in land surveying with three (3) years of experience in construction works (d)Two Foremen: A2 Diploma in construction with five (5) years of experience in similar works. - List of minimum equipment to be provided - Concrete mixer (1) - Vibrating machine (1) - Welding machine (1) - Manual compactors (2) - Dump Truck (5 tonnes) (2) The bidder must provide proof of ownership or leasing/renting with an agreement signed by both parties. |

9. Evaluation and Scoring Criteria

| Evaluation | - The evaluation of bids will take place in two stages: - Criteria, sub-criteria, and marks for the evaluation of full technical proposals are: Step I: Preliminary Analysis (Administrative Compliance) - The Procurement Committee will first review the technical envelope and determine if all required documents have been submitted, they are consistent, valid and duly signed. Absence, non-compliance or the validity of a threshold document classified as "administrative" will automatically reject the offer. Any offer rejected at the end of this stage will be excluded from further evaluation. Step II: Technical Proposal Evaluation To be considered eligible, a technical proposal must achieve a minimum score of 70%. Only financial proposals from bidders whose technical proposals meet this requirement will be opened. All other financial proposals will be returned unopened. The technical proposals will be assessed using the criteria outlined below. Step III: Financial Proposal Evaluation Eligible firms from the technical evaluation analysis will be invited for the opening of financial proposals, whereas the financial proposals of non-eligible firms will be returned unopened. |
| --- | --- |

| Criteria | Criteria description | weight / 100 |
| --- | --- | --- |
| Administrative documents | - A valid certificate of current standing - Valid clearance certificate issued by Rwanda Social Security Board - A valid RRA clearance certificate - A valid credit line or a promise of a credit line of at least eighty Million Rwandan Francs (80,000,000 Rwf), issued by a bank or another authorized financial institution, specifically for the execution of this tender. - A commitment letter confirming the bidder’s ability to complete the assignment within a period of 30 calendar days from the date of contract signature. - Site visit certificate signed and stamped to be provided by DUHAMIC-ADRI. - Proof of use of the Electronic Billing Machine (EBM) (An invoice submitted in the past or EBM usage certificate) - Bid security issued by recognized commercial bank or insurance company guarantee operating in Rwanda of equivalent to two million ninety-nine thousand four hundred twenty-five Rwandan Francs 2,099,425 Rwf. | Eliminatory |
| Company Profile | A detailed company profile including Company background. Physical address Registration details Organizational structure Areas of specialization | 2.5 |
| Work Plan | Provide a detailed work schedule/ Implementation Plan demonstrating how the works will be completed within a period of 30 calendar days | 2.5 |
| Technical Capacity | Proposed key personnel (Team Composition) & equipment and resources 1. Key personnel (25marks) (a)Project Manager: Cv, Bachelor’s degree in civil engineering with at least five (5) years general experience in execution of similar works, he/she must have at least 2 projects completed as Project Manager with supporting documents, signed commitment of Availability. (5 marks) (b)Site Engineer: Cv, Bachelor’s degree in civil engineering with at least three (3) years of experience in similar work with at least two (2) projects as Site Engineer for building works with supporting documents, signed commitment of Availability. (5marks) (c)Land surveyor: Cv, Bachelor’s degree in land surveying with three (3) years of experience in construction works, signed commitment of Availability. (5marks) (d)Two Foremen: Cv, A2 Diploma in construction with five (5) years of experience in similar works and signed commitment of Availability. 10 Marks Scoring: CV: 2marks, Degree:2marks Commitment of Availability (1marks), Certificate of Completion or Recommendation Letter demonstrating experience in similar works related to the proposed position. 1 Marks Note: Each applicant must clearly present the proposed team with their corresponding expertise and position in an aligned manner to facilitate evaluation. 2. Equipment and Resources (5marks) List of the following equipment (owned or leased) - Concrete mixer (1) - Vibrating machine (1) - Welding machine (1) - Manual compactors (2) - Dump Truck (5 tonnes) (1) Proof of ownership or lease agreements is required | 25 |
| Company Experience | At least Three certificates of good completion for construction works successfully executed, each with a minimum contract value of 80,000,000 Rwf, accompanied by their corresponding contracts. Scoring: Each similar assignment will be awarded 10 marks, allocated as follows: - Good completion certificate: 5 marks - Contract: 5 marks | 30 |
| Total technical evaluation marks |  | 70 marks |
| Financial Proposal | A detailed financial proposal referring to the provided BOQ (Bill of Quantities) | 30 marks |
| TOTAL |  | 100 marks |

10. Proposal preparation

10.1 Technical Proposal

The Technical proposal shall include the following components:

- Administrative documents

- Company profile

- Work plan

- Technical capacity (Proposed team composition & Equipment)

- Company experience

10.2 Financial Proposal

A detailed financial proposal prepared in accordance with the provided Bill of Quantities (BOQ). All quoted prices shall be inclusive of all applicable taxes.

- Submission Requirements

All interested bidders shall submit their proposals (Technical and Financial) in one sealed outer envelope, which must contain two separate inner envelopes:

- One marked “Technical Proposal”

- One marked “Financial Proposal”

Both envelopes must be clearly titled: Hiring a construction company to construct a Cooperative warehouse store for KODUMU Cooperative located in MUSHISHITO Marshland, KIBIRIZI Sector of NYAMAGABE District, Southern province and the applying company name.

Submissions shall be made in hard copy only and must be delivered not later than August 24, 2026, at 11:00 AM.

- On the submission date, there will be no public opening of the technical proposals. DUHAMIC-ADRI will receive submissions for analysis.

- Results of the technical evaluation will be communicated via email. Only bidders who score at least 70% in the technical evaluation will be shortlisted and invited to the financial proposal opening.

- The financial proposals of non-shortlisted bidders will remain unopened. Such bidders will be invited to collect their financial proposals.

- The date and time of the financial proposal opening will be communicated by email to the shortlisted bidders.

  - Site visit

All interested bidders are invited to participate in a mandatory site visit scheduled for August 18, 2026 at 11:00 AM in MUSHISHITO Marshland, Birembo Village, UWINDEKEZI cell, KIBIRIZI sector, NYAMAGABE District, Southern province.

A site visit certificate, signed and stamped by DUHAMIC-ADRI, will be issued to participants and must be included in the bid submission.

For further information regarding the site visit, please contact: 0784791509.

Note: Bidders must be represented by their permanent staff members with relevant qualifications and experience in construction works. Representatives who are not employees of the bidding company will not be accepted.

# Responsibility of the client

The client will:

- Ensure free access to the site;

- Provide the Contracting firm with any assistance as the contracting firm may be entitled to in accordance with the Terms of Reference;

- Provide the Contracting firm with all documents, information reports, data, any existing photographs and other information pertaining to the work;

- Ensure the timely payment of executed works based on terms and conditions agreed on by two parties as will be defined in the contract.

# Responsibility of the contracting firm

- The contracting shall carry out work in a professional manner in keeping with internationally accepted standards; using qualified and appropriate staff. They shall endeavor to implement the assignment with diligence and within the time agreed upon in the contract. In this regard the bidder shall provide to the DUHAMIC-ADRI the full curriculum vitae of each of the members of the team it proposes for execution of the work.

- The contracting firm shall be responsible for providing their staff all payments including salaries, travel and accommodation cost as they may be required. The Contracting firm shall replace any staff member who is unable to carry out the work or is considered by the Client to be unsuitable. As per the rules in keeping with internationally accepted standards for assignment of this nature, the replacement of any of the Contracting firm' staff should be by a person of equal competence at the same cost and subject to the approval of the Client.

- The contracting firm shall be responsible for its office costs, the cost of housing and other services for his staff and procurement and transport of all office, technical equipment, machinery and hire of vehicles needed for the marshland reclamation and development.

- The contracting shall be responsible for arranging and meeting the cost of all but not limited to supporting services for assessments, topography survey, soil surveying, geotechnical investigation, laboratory analysis, and for the printing of all reports (in English).

- The contracting firm shall work hand-in-hand with relevant professional and technicians from NYAMAGABE District and RAB (Nyamagabe - Nyaruguru station) and other institutions with particular experience and expertise in the domain;

- The contracting firm shall respect all environmental and safeguarding aspects.

# Bill of quantities and financial proposal

Based on the scope of services and detailed scope of work, expected quality of works, complexity of the implementation and information provided in term of reference as well as additional information to be obtained from a mandatory field visit, the cost and financial proposal shall be presented in the given template and per different items. The detailed financial proposal shall be prepared and presented separately from the technical proposal.

The financial proposal shall be prepared based on the following bill of quantities with due to the technical specifications mentioned in the above sections:

|  | BILL OF QUANTITIES FOR CONSTRUCTION OF Cooperative ware house store in Mushishito marshland. |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | STORAGE |  |  |  |  |
| NO | Item | Unit | Quantities | Unit price (Rwf) | Total price (Rwf) |
|  | I. Preliminary works |  |  |  |  |
| 1.1 | Site clearing; Site installation and insurance of workers and PPE | ls | 1 |  |  |
| 1.2 | General leveling including evacuation of excavated soil out of site. (Digging up topsoil to an average depth of 150 mm and partly preserving for use as filling in landscaped areas on site.) | ls | 1 |  |  |
| 1.3 | Preparation of final report including As built plans (to be submitted both in hard and soft copies) | ls | 1 |  |  |
|  | S/TOTAL |  |  |  |  |
|  | II. Foundation and retaining walls |  |  |  |  |
| 2.1 | Excavation for foundation | m3 | 52.3 |  |  |
| 2.2 | Excavation for footing of column | m3 | 37.632 |  |  |
| 2.3 | Screed concrete: Bonded screed (directly on slab) | m3 | 50.592 |  |  |
| 2.4 | Reinforced concrete footings for column (350Kg of cement/m3) | m3 | 5.184 |  |  |
| 2.5 | Foundation in stone masonry with concrete coping | m3 | 61.9 |  |  |
| 2.6 | Sub column in reinforced concrete (350kg of cement /m3) | m3 | 0.96 |  |  |
|  | S/TOTAL |  |  |  |  |
|  | III. ELEVATION |  |  |  |  |
| 3.1 | Damp proof membrane | ml | 71.1 |  |  |
| 3.2 | Beam in reinforced concrete (350kg of cement/m3) | m3 | 10.8 |  |  |
| 3.3 | Column in reinforced concrete (350kg of cement/m3) | m3 | 3.016 |  |  |
| 3.4 | Masonry in industrial good clay bricks(Muhanga or Huye type) masonry With mortar and pointing | m3 | 79.4 |  |  |
| 3.5 | Ventilation concrete blocks in Z shape with finishing including plastic moskito net on both sides (in and outside) | m3 | 10.5 |  |  |
|  | S/TOTAL |  |  |  |  |
|  | IV. Metallic structure with paint and covering |  |  |  |  |
| 4.1 | Hollow tube of 40*60*2mm for truss and purlin | ml | 320 |  |  |
| 4.2 | Supply and installation of Covering in Iron sheet Tole autoportant BG28 blue color complete with all necessary accessories including self-drilling screws, rubber washers, overlaps, and fixing materials | m2 | 281.052 |  |  |
| 4.3 | Supply and installation of UV-protected corrugated polycarbonate translucent roofing sheets, minimum thickness 2 mm, opal/clear color, high impact resistant, weather resistant, complete with all necessary accessories including self-drilling screws, rubber washers, overlaps, and fixing materials | m2 | 22.5 |  |  |
| 4.4 | Roof edging sheet with paint (Tole de rive) | ml | 64.72 |  |  |
| 4.5 | Truss Supporting hollow tube of 40*40*2mm | ml | 160 |  |  |
| 4.6 | Supply and installation of heavy-duty pre-painted galvanized metallic gutters, minimum thickness 0.6 mm, size 200 mm × 200 mm complete with brackets, joints, outlets, end caps, downpipes (Ø100 mm), bends, and all fixing accessories, installed according to engineer’s instructions. | ml | 40 |  |  |
| 4.7 | Supply and install well cyclefan as approved by client Supply and installation of industrial air circulation fan, minimum 600 mm diameter, galvanized steel body with aluminium blades, low-noise operation, and all installation accessories as approved by the engineers. | pcs | 6 |  |  |
| 4.8 | Supply and installation of overfolow pipe and construction of drainage channel to be connected to the nearby existing drainage | Lmp | 1 |  |  |
|  | S/TOTAL |  |  |  |  |
|  | V. Floor |  |  |  |  |
| 5.1 | Sub-basement in stone of 15 cm thick with the cement mortar | m3 | 37.944 |  |  |
| 5.2 | Unreinforced concrete of 8 cm with a smooth finishing in storage (cement at 350kg/m3 | m3 | 20.2368 |  |  |
| 5.3 | Plinth in cement and sand mortar at 350m3/m3 | ml | 116 |  |  |
| 5.4 | Side drainage canal in stone masonry with cement and sand mortar | m3 | 16.02 |  |  |
|  | S/TOTAL |  |  |  |  |
|  | VI. Opening with pants and all accesories |  |  |  |  |
| 6.1 | Supply and install Sliding metallic door with of 3*3m including fixation accessories (the mettalic sheet thickness is 3mm) | no | 2 |  |  |
|  | S/TOTAL |  |  |  |  |
|  | TOTAL FOR ONE STORAGE |  |  |  |  |
|  | TOILET WITH TWO ROOMS |  |  |  |  |
| No | Item | Unit | Quantity |  |  |
|  | I. PRELIMINARY WORKS |  |  |  |  |
| 1.1 | General leveling | ls | 1 |  |  |
| 1.2 | Excavation for foundation | m3 | 4.375 |  |  |
| 1.3 | Digging a soak hole of depth=6, L=4m et width=2 | m3 | 48 |  |  |
|  | II. MASONRY AND CONCRETE |  |  |  |  |
| 2.1 | Foundation in stone masonry with cement and sand mortar +Plastering | m3 | 4.375 |  |  |
| 2.2 | Industrial good clay burnt bricks masonry (Muhanga or Huye) with pointing | m3 | 5.885 |  |  |
| 2.3 | Belt of soak hole in stone masonry at H=1.5 | m3 | 18 |  |  |
| 2.4 | Concrete slab | m3 | 1.2 |  |  |
|  | III. ROOFING |  |  |  |  |
| 3.1 | Covering with blue iron sheet (autoportant) 28 BG with oiled timber for roof structure | m2 | 12.6 |  |  |
|  | IV. DOORFRAME |  |  |  |  |
| 4.1 | A door of 1.8x8 in painted mettalic metallic with padlock | no | 2 |  |  |
|  | V. Floor |  |  |  |  |
| 5.1 | Plinth in cement mortar of 12 cm (Inside and outside) | ml | 17.2 |  |  |
| 5.2 | Base material in hard core stone of sidewalks 15 cm minimum | m2 | 13.7025 |  |  |
| 5.3 | Pavement with unreinforced concrete and smooth surface | m2 | 13.7025 |  |  |
|  | TOTAL FOR ONE TOILET |  |  |  |  |
|  | G/ Total (Storage + Toilet) (VAT Including) |  |  |  |  |

Note:

- The successful bidder will agree to employ local population, especially Climate-Smart Agriculture Project participant registered during participants registration and those in graduation program and will use local materials as much as possible when they are available.

- The payment modalities will be discussed and agreed on during contract negotiation

- Prior to signing the contract, DUHAMIC-ADRI will request successful bidder to provide a performance guarantee equivalent to 10% of the contract value for 1 months of execution and 6 months of defect liability period.

- Prior to contracting, DUHAMIC-ADRI reserves the right to conduct a vetting process to the successful bidders to ensure compliance with anti-terrorism and other regulatory requirements.

- DUHAMIC-ADRI reserves the right to conduct due diligence on all references (Certificates of good completion) submitted by the bidder. If any reference is found to be unauthentic, the bidder shall be immediately disqualified. The same applies to all administrative documents, including but not limited to valid Tax Clearance and RSSB Clearance certificates.

- DUHAMIC-ADRI reserves the right to reject any item that does not meet the required specifications. Failure to replace rejected items shall result in rejection of the bid and consideration of the next-ranked bidder(s).

- Bidders who are blacklisted by RPPA are not eligible to participate in this tender. DUHAMIC-ADRI reserves the right to reject such bids.

- Women-, youth-, and persons-with-disabilities–led companies that meet the required conditions and qualifications are encouraged to apply.

- Joint Venture is not allowed; only qualified companies are allowed to participate as individuals.

  - Safeguarding and Anti-Corruption clauses

Safeguarding and protection from Sexual Exploitation and Abuse (PSEA) is everyone’s responsibility who works directly or indirectly with DUHAMIC-ADRI services delivery and operations. All DUHAMIC-ADRI staff and affiliates, including volunteers and Suppliers; sub-Suppliers’ staff and implementing partners are required to adhere to DUHAMIC-ADRI’s full safeguarding and protection policy procedures and the separate Code of Conduct that always values principles of PSEA.

DUHAMIC-ADRI has a zero tolerance to Sexual Exploitation and any other form of abuse. Child and vulnerable abuse, exploitation, harassment, discrimination, and human trafficking are strongly prohibited behaviours. All implementing partners/suppliers who are contracting with DUHAMIC-ADRI must adhere to DUHAMIC-ADRI’s full safeguarding and protection policy in addition to the code of conduct.

By applying to this tender, the supplier, is committed to denounce and to report any safeguarding issues or fraud face to face or at the reporting email for safeguarding issues at” feedback@duhamic.org.rw ”, Toll Free: 8470 and telephone number: 0788305329 without delays.

By Applying to this tender as a supplier, I understand that DUHAMIC-ADRI has the rights to ensure 100% compliance with safeguarding and protection policies via spot checks or any other form of control mechanisms. If my business isn’t compliant, DUHAMIC-ADRI will take appropriate measures or immediately stop the contract of financial support depending on the nature and severity of the safeguarding incident detected.

  - Data Protection and confidentiality

The successful bidder shall comply with all applicable data protection and privacy laws in force in the Republic of Rwanda, including Law No. 058/2021 relating to the protection of personal data and privacy. Any personal data, confidential information, or organizational records accessed during contract execution shall be used solely for the purposes of performing the contract, kept strictly confidential, and protected against unauthorized access, disclosure, loss, or misuse. Such data shall not be shared with third parties without prior written authorization from DUHAMIC-ADRI, and any actual or suspected data breach shall be reported immediately.

Done at Kigali on August 10, 2026